## Slide 1
Sample arrangement of Nodes in a bus is shown in next slides.
We can either use rs485 bus or can bus for nodes the one with highest speed
There will be a Coupler which will act as data supplier between remote master device and nodes
Configuration of the coupler will be done with a software application which will map the data from the nodes to upper controller.

## Slide 2
Tx
Rx
Tx
Rs485 B
Rs485 A
Spare
Spare
Spare
Rs485 B
Rs485 A
Spare
Spare
Spare
Rx
Tx
Rs485 B
Rs485 A
Spare
Spare
Spare
Rx
Tx
Rs485 B
Rs485 A
Spare
Spare
Spare
Rx
Tx
Rs485 B
Rs485 A
Spare
Spare
Spare
Coupler
Node1
Node2
Node3
NodeN
Master
Slave
Slave
Slave
Slave
Rs485 B
Rs485 A
Slave
Remote PLC
RS485 Master
RS485 BUS Concept

## Slide 3
Holding Registers | Write data
1 | Node 1 data
2 | Node 2 data
3 | Node 3 data
4 | Node 4 data
5 | Node 5 data
6 | Node 6 data
n | Node n data
Input Registers | Read Data
1 | Node 1 data
2 | Node 2 data
3 | Node 3 data
4 | Node 4 data
5 | Node 5 data
6 | Node 6 data
n | Node n data
Modbus Concept

## Slide 4
Tx
Rx
Tx
CAN -
CAN +
Spare
Spare
Spare
CAN -
CAN +
Spare
Spare
Spare
Rx
Tx
CAN -
CAN +
Spare
Spare
Spare
Rx
Tx
CAN -
CAN +
Spare
Spare
Spare
Rx
Tx
CAN -
CAN +
Spare
Spare
Spare
Coupler
Node1
Node2
Node3
NodeN
Master
Slave
Slave
Slave
Slave
Rs485 B
Rs485 A
Slave
Remote PLC
RS485 Master
CAN BUS Concept